Computer


 7

Computer 7

Acid-Base Titration


Acid-Base Titration

A titration is a process used to determine the volume of a solution that is needed to react with a given amount of another substance. In this experiment, your goal is to determine the molar concentration of two acid solutions by conducting titrations with a base of known concentration. You will be testing a strong acid, HCl, solution and a weak acid, HC2H3O2, solution. You will use the sodium hydroxide, NaOH, solution that you standardized in Lab 6 as your base of known concentration. The reaction equations are shown below in net ionic form.

H+ (aq) + OH– (aq) → H2O(l)

HC2H3O2(aq) + OH– (aq) → H2O(l) + C2H3O2– (aq)

The stoichiometry of the two reactions is identical; thus, your calculations will be straightforward. However, you will observe a significant difference in how the two acid solutions react with NaOH.

In this experiment, you will use a computer to monitor pH as you titrate. The region of most rapid pH change will then be used to determine the equivalence point. The volume of NaOH titrant used at the equivalence point will be used to determine the molarity of the HCl solution.

OBJECTIVES

In this experiment, you will

· Accurately conduct acid-base titrations.

· Determine the equivalence point of a strong acid-strong base titration.

· Determine the equivalence point of a weak acid-strong base titration.

Calculate the molar concentrations of two acid solutions.

[image: image1.wmf]
Figure 1

MATERIALS

	

	Vernier computer interface
	wash bottle

	computer
	distilled water

	Vernier pH Sensor
	ring stand

	0.100 M sodium hydroxide, NaOH solution
	utility clamp

	hydrochloric acid, HCl, solution, unknown molarity
	250 mL beaker

	acetic acid, CH3COOH, solution, unknown molarity
	10 mL pipet with pump

	magnetic stirrer 
	50 mL graduated cylinder

	stirring bar or Microstirrer 
	10 mL pipet

	50 mL buret
	buret clamp


PROCEDURE

1.
Obtain and wear goggles.


2.
Obtain about 25 mL of a hydrochloric acid solution of unknown concentration. Add 50 mL of distilled water to a 250 mL beaker. Use a pipet bulb (or pipet pump) to transfer 10 mL of the HCl solution into the beaker. CAUTION: Handle the hydrochloric acid with care. It can cause painful burns if it comes in contact with the skin.


3.
Place the beaker on a magnetic stirrer and add a stirring bar. If no magnetic stirrer is available, stir the reaction mixture with a stirring rod during the titration.


4.
Connect a pH Sensor to Channel 1 of a Vernier computer interface. Connect the interface to the computer using the proper cable.


5.
Set up a ring stand, buret clamp, and 50.0 mL buret to conduct the titration (see Figure 1). Rinse and fill the buret with 0.100 M NaOH solution. Note: Record the precise concentration of the NaOH solution in your data table. CAUTION: Sodium hydroxide solution is caustic. Avoid spilling it on your skin or clothing.


6.
Use a utility clamp to suspend the pH Sensor on the ring stand, as shown in Figure 1. Position the pH Sensor so that its tip is immersed in the HCl solution but is not struck by the stirring bar. Gently stir the beaker of acid solution.


7.
Run the Logger Pro program on your computer. Open the file “07a Acid-Base” from the Advanced Chemistry with Vernier folder.
8.  You are now ready to begin the titration.
a.  Before adding NaOH titrant, click [image: image2.png]


. Once the displayed pH reading has stabilized, click [image: image3.png]


. In the edit box, type 0 (for 0 mL added). Press the ENTER key to store the first data pair for this experiment.

b. Add the next increment of NaOH (enough to raise the pH about 0.15 units). When the pH stabilizes, again click [image: image4.png]


. In the edit box, type the current buret reading as accurately as possible. Press ENTER. You have now saved the second data pair for the experiment.

c. Continue adding NaOH solution in increments that raise the pH by about 0.15 units and enter the buret reading after each increment. When a pH value of approximately 3.5 is reached, change to a one-drop increment.

d. After a pH value of approximately 10 is reached, add larger increments that raise the pH by about 0.15 pH units, and enter the buret level after each increment.

Continue adding NaOH solution until the pH value remains constant.


9.
When you have finished collecting data, click [image: image5.png]


. Dispose of the reaction mixture as directed. Rinse the pH Sensor with distilled water in preparation for the second titration.


10.
Follow the steps below to find the equivalence point, which is the largest increase in pH upon the addition of a very small amount of NaOH solution. A good method of determining the precise equivalence point of the titration is to take the second derivative of the pH-volume data, a plot of (2pH/(vol2.

e. View a plot of the second derivative on Page 3 by clicking the Next Page button, [image: image6.png]


.

f. Analyze the second derivative plot and record the volume of NaOH at the equivalence point.


11.
Go back to the original titration graph. Print a copy of the graph and the data set. Conduct a second trial if directed by your instructor. If you wish to save the results of the titration(s), choose Store Latest Run from the Experiment menu. 


12.
Repeat the necessary steps to test the acetic acid solution. Conduct a second trail of the acetic acid solution if directed by your instructor. Analyze, print, and save the titration data for your acetic acid solution trial(s).

DATA TABLE

	HCl
Trial
	Volume 
HCl
(mL)
	[NaOH]
(M)
	Equivalence
point 
(mL)
	
	CH3COOH
Trial
	Volume
CH3COOH
(mL)
	[NaOH]
(M)
	 Equivalence
point 
(mL)

	1
	
	
	
	
	1
	
	
	

	2
	
	
	
	
	2
	
	
	


DATA ANALYSIS


1.
Calculate the molar amounts of NaOH used in the reaction with the HCl solution and with the HC2H3O2 solution.


2.
Calculate the molar concentration (molarity) of the HCl solution and the HC2H3O2 solution.


3.
Compare the actual molar concentrations of your two acid solutions with your calculated molarities. Were the calculated molarities of your acid solutions within a reasonable range (about 5%) of the actual values? If not, suggest reasons for the inaccuracy.


4.
The equivalence points of the two titration curves were not in the same pH range. Explain.

EXTENSION

You may use another method to analyze titration data, called a Gran Plot. Proposed in the early 1950’s by G. Gran, this method uses the reciprocal of ΔpH of the titration data (where 
ΔpH = pH value – previous pH value). The graph of volume of 1/ΔpH vs. titrant volume resembles a V-shaped plot. The inflection point of this plot is the equivalence point volume of the titration. 

To use this method, you will first need to create a new calculated column, 1/ΔpH. You can do this in Logger Pro software by choosing New Calculated Column from the Data menu, and entering a formula, 1/ΔpH. (You can select delta from the list of available functions.)

On your resulting plot of 1/ΔpH vs. volume (see Figure 3), interpolate to find the intersection of two best-fit regression lines. The precise volume where the two linear fits intersect will be the equivalence point volume. In the sample graph shown here, the equivalence point is 10.58 mL.

[image: image7.png]1/(delta pH change) vs. Volume of NaOH

>Wolume of NaOH added: 1058
1/(delta pH change) -0.07436
1/{delta pH change) -0.07864

*="Linear Fit For. Data Set 1/(delta pH change)
y = mcrb
m(Slope): -6.194
b(Y-lntercept): 65.43
Correlation:-0.9747

1/(delta pH change)
o
Il

*="Linear Fit For. Data Set 1/(delta pH change)
y = mcrb
m(Slope): 15.74
b(Y-lntercept): -166.5
Correlation:0.9993

T
105 1.0
Volure of NaOH added (L)

100

(10575, -0.122)





Figure 3

Advanced Chemistry with Vernier

7 - 1
7 - 2

Advanced Chemistry with Vernier
Advanced Chemistry with Vernier

7 - 3

